## Summary
Audit Trail Review — Evidence Package
GxP Audit Trail Evidence Package
REVIEW INFORMATION
System Name | BioLIMSv1
Review Period | 01-Oct-2025 → 27-Dec-2025
Source File | valintel_at_period2_Q4_2025_improving.csv
Analysis Date (UTC) | 2026-05-03 17:15 UTC
Regulatory Basis | 21 CFR Part 11 §11.10(e) ¦ EU Annex 11, Clause 9 ¦ GAMP 5 (2nd Ed, 2022) ¦ FDA CSA Final Guidance (Sep 2021)
RESULTS AT A GLANCE
Total Records Reviewed | 100
Records Auto-Cleared | 95 (95.0%)
Records Requiring Review | 5
ESCALATED EVENTS — BREAKDOWN
Critical — Escalated for immediate action | 0 of 5 escalated events
High — Escalated for investigation | 5 of 5 escalated events
Medium — Escalated for review | 0 of 5 escalated events
Full dataset tier distribution | See Full Audit Log sheet — Risk Level column
REVIEW NARRATIVE
The audit trail for BioLIMSv1 was reviewed from 01-Oct-2025 to 27-Dec-2025. Of 100 recorded events, 5 were escalated for review (5 High). Full dataset tier distribution is available in the Full Audit Log sheet. 5 instances of missing or inadequate change rationale were identified across the full dataset (not all met the escalation threshold, but the pattern indicates a systemic documentation practice issue). Overall, the system presents a moderate risk to data integrity. Multiple high-risk findings indicate systemic issues in documentation practices and access control that require corrective action.
REVIEWER STATEMENT
This audit trail review was performed using rule-based anomaly detection with system-generated narrative summaries. All risk classifications are derived from deterministic rules; narrative text does not influence risk scoring or tier assignment. 100 records were reviewed across the period 01-Oct-2025 to 27-Dec-2025. 95.0% of records were automatically cleared as low risk. The 5 records requiring review are documented in the 'Events for Review' sheet. Each finding has been independently reviewed and dispositioned by the undersigned reviewer. The 'System-Proposed Disposition' column is informational only; the reviewer's determination in the 'Reviewer Decision' column reflects independent human judgement and is the authoritative record. Regulatory basis: 21 CFR Part 11 §11.10(e) and EU Annex 11 Clause 9. Timezone note: Off-hours scoring (Rule 10) assumes all timestamps in the uploaded file are in the same timezone. If your system exports timestamps in UTC or a non-local timezone, off-hours flags should be interpreted accordingly. Reviewers should verify local shift patterns before dispositing temporal anomalies.
Reviewer Name
Reviewer Title
Date of Review
Reviewer Signature

## Events for Review
Showing 5 escalated event(s) from the Full Audit Log (5 High). Each event triggered at least one named detection rule (Rules 1–15) at or above its threshold. All events remain visible in the Full Audit Log sheet.
No. | Events (rolled up) | Risk Level | Evidence Strength | Date & Time | User | Action | Record | Record ID | Change Reason | Primary Rule | Related Sequence | Why It Matters | What Happened | Recommended Action | System-Proposed Disposition (see Decision Basis — reviewer must make independent determination) | Decision Basis | Reviewer Decision (independent — tick one) | Reviewer Notes
1 | 1 | High | Medium | 2025-10-27 09:13 | kpatel | UPDATE | RESULTS | RES-2093 | Fixed | Rule 6 — Vague Rationale [HIGH] |  | ALCOA+ Attributable and Legible principles; FDA Data Integrity Guidance (2018) — GxP data changes must be accompanied by a specific, scientifically justified rationale attributable to the performing individual. | kpatel performed UPDATE on RESULTS/RES-2093 at 2025-10-27 09:13:00; comment on file reads 'Fixed' — a delete-then-recreate pattern was detected on this record — the original entry no longer exists in the audit trail. | Obtain a retrospective written amendment from the analyst explaining what changed and why. Assess whether the undocumented change could affect the quality or disposition of the associated batch or result. |  |  | ☐ Justified ☐ Escalate to CAPA ☐ False Positive
2 | 1 | High | Medium | 2025-10-29 12:38 | jsmith | UPDATE | RESULTS | RES-2092 | Fixed | Rule 6 — Vague Rationale [HIGH] |  | ALCOA+ Attributable and Legible principles; FDA Data Integrity Guidance (2018) — GxP data changes must be accompanied by a specific, scientifically justified rationale attributable to the performing individual. | jsmith performed UPDATE on RESULTS/RES-2092 at 2025-10-29 12:38:00; comment on file reads 'Fixed' — a delete-then-recreate pattern was detected on this record — the original entry no longer exists in the audit trail. | Obtain a retrospective written amendment from the analyst explaining what changed and why. Assess whether the undocumented change could affect the quality or disposition of the associated batch or result. |  |  | ☐ Justified ☐ Escalate to CAPA ☐ False Positive
3 | 1 | High | Medium | 2025-11-07 10:07 | jsmith | UPDATE | RESULTS | RES-2094 | Fixed | Rule 6 — Vague Rationale [HIGH] |  | ALCOA+ Attributable and Legible principles; FDA Data Integrity Guidance (2018) — GxP data changes must be accompanied by a specific, scientifically justified rationale attributable to the performing individual. | jsmith performed UPDATE on RESULTS/RES-2094 at 2025-11-07 10:07:00; comment on file reads 'Fixed' — a delete-then-recreate pattern was detected on this record — the original entry no longer exists in the audit trail. | Obtain a retrospective written amendment from the analyst explaining what changed and why. Assess whether the undocumented change could affect the quality or disposition of the associated batch or result. |  |  | ☐ Justified ☐ Escalate to CAPA ☐ False Positive
4 | 1 | High | Medium | 2025-11-25 05:08 | dkim | UPDATE | RESULTS | RES-2095 | Fixed | Rule 6 — Vague Rationale [HIGH] |  | ALCOA+ Attributable and Legible principles; FDA Data Integrity Guidance (2018) — GxP data changes must be accompanied by a specific, scientifically justified rationale attributable to the performing individual. | dkim performed UPDATE on RESULTS/RES-2095 at 2025-11-25 05:08:00; comment on file reads 'Fixed' — a delete-then-recreate pattern was detected on this record — the original entry no longer exists in the audit trail. | Obtain a retrospective written amendment from the analyst explaining what changed and why. Assess whether the undocumented change could affect the quality or disposition of the associated batch or result. |  |  | ☐ Justified ☐ Escalate to CAPA ☐ False Positive
5 | 1 | High | Medium | 2025-12-15 15:33 | rchen | UPDATE | RESULTS | RES-2091 | Fixed | Rule 6 — Vague Rationale [HIGH] |  | ALCOA+ Attributable and Legible principles; FDA Data Integrity Guidance (2018) — GxP data changes must be accompanied by a specific, scientifically justified rationale attributable to the performing individual. | rchen performed UPDATE on RESULTS/RES-2091 at 2025-12-15 15:33:00; comment on file reads 'Fixed' — a delete-then-recreate pattern was detected on this record — the original entry no longer exists in the audit trail. | Obtain a retrospective written amendment from the analyst explaining what changed and why. Assess whether the undocumented change could affect the quality or disposition of the associated batch or result. |  |  | ☐ Justified ☐ Escalate to CAPA ☐ False Positive

## Full Audit Log
Date & Time | User | Action | Record Type | Record ID | Old Value | New Value | Change Reason | Risk Level | Evidence | Primary Rule | All Rules Fired | Related Sequence
2025-10-27 09:13 | kpatel | UPDATE | RESULTS | RES-2093 | 7.0 | 7.2 | Fixed | High | Medium | Rule 6 — Vague Rationale [HIGH] | Rule 6 — Vague Rationale
2025-10-29 12:38 | jsmith | UPDATE | RESULTS | RES-2092 | 7.0 | 7.2 | Fixed | High | Medium | Rule 6 — Vague Rationale [HIGH] | Rule 6 — Vague Rationale
2025-11-07 10:07 | jsmith | UPDATE | RESULTS | RES-2094 | 7.0 | 7.2 | Fixed | High | Medium | Rule 6 — Vague Rationale [HIGH] | Rule 6 — Vague Rationale
2025-11-25 05:08 | dkim | UPDATE | RESULTS | RES-2095 | 7.0 | 7.2 | Fixed | High | Medium | Rule 6 — Vague Rationale [HIGH] | Rule 6 — Vague Rationale
2025-12-15 15:33 | rchen | UPDATE | RESULTS | RES-2091 | 7.0 | 7.2 | Fixed | High | Medium | Rule 6 — Vague Rationale [HIGH] | Rule 6 — Vague Rationale
2025-10-01 05:55 | jbrown | VIEW | SAMPLE_DATA | RES-2087 | 6.9 | 6.64 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-04 15:54 | dkim | VIEW | INVENTORY | RES-2019 | 6.71 | 7.3 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-05 22:23 | dkim | VIEW | STABILITY_DATA | RES-2070 | 7.45 | 7.36 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-06 01:35 | kpatel | VIEW | SPEC_LIMITS | RES-2026 | 7.14 | 7.25 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-07 04:10 | jbrown | UPDATE | RESULTS | RES-2089 | 6.77 | 7.16 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-07 06:17 | bsantos | APPROVE | SAMPLE_DATA | RES-2042 | 7.38 | 6.98 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-08 09:22 | jsmith | VIEW | INVENTORY | RES-2054 | 6.74 | 6.91 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-09 02:53 | kpatel | APPROVE | BATCH | RES-2082 | 6.6 | 7.24 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-09 12:31 | bsantos | UPDATE | BATCH | RES-2028 | 7.19 | 6.65 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-09 15:28 | pnguyen | UPDATE | INVENTORY | RES-2076 | 6.61 | 7.0 | CAPA-related data update per QA review QA-2025-312 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-09 17:13 | swoods | INSERT | STABILITY_DATA | RES-2073 | 7.27 | 7.29 | Stability data entry per protocol STB-2025-07 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-10 14:22 | rchen | INSERT | SPEC_LIMITS | RES-2057 | 7.19 | 6.96 | Specification limit updated per change control CC-2025-088 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-11 07:07 | swoods | VIEW | FORMULATION | RES-2029 | 7.29 | 6.73 | CAPA-related data update per QA review QA-2025-312 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-11 19:02 | bsantos | APPROVE | FORMULATION | RES-2036 | 7.1 | 6.53 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-12 08:56 | jbrown | INSERT | QC_TEST | RES-2018 | 6.96 | 7.11 | Calibration correction per instrument log CAL-2025-55 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-12 13:06 | rchen | INSERT | BATCH | RES-2053 | 7.19 | 7.4 | Batch record correction per deviation DEV-2025-441 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-13 06:18 | swoods | VIEW | STABILITY_DATA | RES-2025 | 6.8 | 7.21 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-13 22:07 | swoods | APPROVE | STABILITY_DATA | RES-2080 | 7.39 | 6.91 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-14 11:54 | bsantos | INSERT | INVENTORY | RES-2085 | 6.78 | 6.73 | Calibration correction per instrument log CAL-2025-55 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-15 12:01 | jbrown | VIEW | BATCH | BAT-2100 |  |  | Read access | Low | Low | No named rule threshold met | No anomaly detected
2025-10-16 14:08 | pnguyen | INSERT | QC_TEST | RES-2001 | 7.49 | 7.1 | CAPA-related data update per QA review QA-2025-312 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-16 20:53 | mlopez | APPROVE | SAMPLE_DATA | RES-2044 | 6.79 | 7.21 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-17 15:42 | kpatel | INSERT | BATCH | RES-2012 | 6.97 | 6.76 | Batch record correction per deviation DEV-2025-441 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-19 07:55 | bsantos | UPDATE | FORMULATION | RES-2064 | 6.59 | 6.89 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-20 14:34 | swoods | APPROVE | QC_TEST | RES-2047 | 7.05 | 7.04 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-21 09:35 | jsmith | INSERT | RESULTS | RES-2043 | 6.59 | 7.49 | Specification limit updated per change control CC-2025-088 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-22 08:58 | jbrown | VIEW | QC_TEST | RES-2063 | 7.37 | 7.3 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-23 02:39 | kpatel | INSERT | FORMULATION | RES-2055 | 6.74 | 7.41 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-10-25 10:07 | akim | UPDATE | SAMPLE_DATA | RES-2025 | 7.24 | 6.78 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-25 22:15 | bsantos | VIEW | FORMULATION | RES-2048 | 7.28 | 6.54 | Calibration correction per instrument log CAL-2025-55 | Low | Low | No named rule threshold met | No anomaly detected
2025-10-30 16:35 | jbrown | VIEW | BATCH | BAT-2096 |  |  | Read access | Low | Low | No named rule threshold met | No anomaly detected
2025-10-31 18:20 | jsmith | VIEW | RESULTS | RES-2075 | 6.55 | 7.24 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-05 04:08 | swoods | UPDATE | SPEC_LIMITS | RES-2074 | 7.16 | 6.53 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-05 13:21 | kpatel | UPDATE | SPEC_LIMITS | RES-2046 | 7.23 | 7.34 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-06 07:38 | jsmith | APPROVE | INVENTORY | RES-2060 | 6.69 | 6.75 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-06 19:19 | dkim | UPDATE | INVENTORY | RES-2084 | 7.01 | 6.65 | CAPA-related data update per QA review QA-2025-312 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-07 07:25 | jsmith | UPDATE | STABILITY_DATA | RES-2022 | 7.08 | 6.97 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-10 17:05 | rchen | VIEW | SAMPLE_DATA | RES-2004 | 6.88 | 6.65 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-10 20:45 | pnguyen | APPROVE | QC_TEST | RES-2052 | 7.12 | 6.73 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-11 23:26 | mlopez | VIEW | SAMPLE_DATA | RES-2062 | 7.29 | 7.38 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-12 13:44 | mlopez | INSERT | QC_TEST | RES-2039 | 7.45 | 7.31 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-11-19 15:06 | rchen | INSERT | STABILITY_DATA | RES-2058 | 6.86 | 6.8 | CAPA-related data update per QA review QA-2025-312 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-11-19 21:50 | bsantos | APPROVE | SAMPLE_DATA | RES-2049 | 6.63 | 7.47 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-20 22:12 | rchen | APPROVE | BATCH | RES-2014 | 7.33 | 6.74 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-20 23:02 | dkim | VIEW | BATCH | BAT-2097 |  |  | Read access | Low | Low | No named rule threshold met | No anomaly detected
2025-11-23 08:13 | bsantos | APPROVE | BATCH | RES-2090 | 6.61 | 7.18 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-23 08:53 | dkim | VIEW | BATCH | RES-2010 | 7.25 | 6.55 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-23 13:21 | akim | UPDATE | QC_TEST | RES-2005 | 6.71 | 6.92 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-23 23:06 | bsantos | APPROVE | INVENTORY | RES-2081 | 7.17 | 6.87 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-24 18:25 | dkim | VIEW | BATCH | BAT-2099 |  |  | Read access | Low | Low | No named rule threshold met | No anomaly detected
2025-11-24 23:35 | pnguyen | VIEW | INVENTORY | RES-2023 | 6.95 | 6.81 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-26 03:29 | rchen | VIEW | SPEC_LIMITS | RES-2035 | 7.44 | 7.0 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-26 03:33 | jbrown | UPDATE | QC_TEST | RES-2050 | 6.64 | 7.37 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-27 14:19 | pnguyen | APPROVE | FORMULATION | RES-2030 | 7.12 | 7.11 | CAPA-related data update per QA review QA-2025-312 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-27 22:38 | jsmith | APPROVE | QC_TEST | RES-2032 | 6.73 | 7.21 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-28 02:20 | pnguyen | UPDATE | SPEC_LIMITS | RES-2040 | 7.47 | 6.9 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-28 02:55 | jbrown | VIEW | BATCH | BAT-2098 |  |  | Read access | Low | Low | No named rule threshold met | No anomaly detected
2025-11-28 11:43 | rchen | UPDATE | SPEC_LIMITS | RES-2065 | 7.32 | 7.44 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-29 04:39 | dkim | INSERT | RESULTS | RES-2008 | 7.06 | 6.53 | CAPA-related data update per QA review QA-2025-312 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-11-29 05:03 | dkim | INSERT | SPEC_LIMITS | RES-2009 | 6.71 | 6.83 | Stability data entry per protocol STB-2025-07 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-11-29 20:16 | kpatel | INSERT | QC_TEST | RES-2056 | 6.51 | 7.3 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-11-30 00:39 | mlopez | INSERT | INVENTORY | RES-2066 | 7.15 | 7.14 | Batch record correction per deviation DEV-2025-441 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-11-30 07:29 | dkim | APPROVE | SAMPLE_DATA | RES-2045 | 7.42 | 7.01 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-11-30 08:21 | kpatel | UPDATE | FORMULATION | RES-2051 | 7.35 | 7.35 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-12-02 03:27 | jsmith | APPROVE | INVENTORY | RES-2016 | 6.96 | 6.65 | Calibration correction per instrument log CAL-2025-55 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-02 07:17 | dkim | INSERT | FORMULATION | RES-2007 | 6.89 | 7.17 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-12-02 17:48 | akim | APPROVE | STABILITY_DATA | RES-2021 | 7.15 | 6.99 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-06 15:40 | akim | VIEW | STABILITY_DATA | RES-2003 | 6.58 | 6.79 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-07 06:24 | jsmith | UPDATE | FORMULATION | RES-2088 | 6.66 | 6.81 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-08 04:24 | mlopez | INSERT | QC_TEST | RES-2068 | 7.45 | 7.2 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-12-09 07:41 | dkim | UPDATE | SAMPLE_DATA | RES-2034 | 6.64 | 6.56 | Calibration correction per instrument log CAL-2025-55 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-09 20:22 | mlopez | VIEW | RESULTS | RES-2071 | 6.69 | 6.62 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-10 14:57 | bsantos | APPROVE | SAMPLE_DATA | RES-2002 | 6.97 | 6.76 | Calibration correction per instrument log CAL-2025-55 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-12 01:22 | rchen | UPDATE | FORMULATION | RES-2015 | 6.57 | 7.15 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-13 09:30 | mlopez | UPDATE | QC_TEST | RES-2027 | 6.68 | 6.55 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-13 12:30 | swoods | UPDATE | RESULTS | RES-2006 | 7.25 | 7.35 | Stability data entry per protocol STB-2025-07 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-14 13:40 | rchen | INSERT | QC_TEST | RES-2038 | 6.85 | 6.83 | Specification limit updated per change control CC-2025-088 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-12-15 17:35 | kpatel | UPDATE | INVENTORY | RES-2083 | 6.91 | 7.37 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-15 23:46 | pnguyen | APPROVE | SAMPLE_DATA | RES-2069 | 6.6 | 6.99 | OOS result corrected per OOS investigation OOS-2025-19 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-16 22:56 | jbrown | VIEW | SPEC_LIMITS | RES-2020 | 7.02 | 6.69 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-17 19:47 | jbrown | INSERT | BATCH | RES-2013 | 6.61 | 6.53 | Stability data entry per protocol STB-2025-07 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-12-17 21:53 | dkim | UPDATE | SPEC_LIMITS | RES-2086 | 6.77 | 7.26 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-18 17:49 | kpatel | VIEW | QC_TEST | RES-2017 | 7.33 | 7.09 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-19 20:37 | kpatel | VIEW | INVENTORY | RES-2079 | 7.03 | 6.95 | CAPA-related data update per QA review QA-2025-312 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-20 06:16 | mlopez | INSERT | BATCH | RES-2031 | 6.67 | 6.58 | Batch record correction per deviation DEV-2025-441 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-12-20 20:02 | kpatel | UPDATE | SPEC_LIMITS | RES-2061 | 7.08 | 7.23 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-23 02:49 | jbrown | INSERT | RESULTS | RES-2011 | 6.7 | 6.52 | Batch record correction per deviation DEV-2025-441 | Low | Low | Rule 3 — Missing Before/After Value [HIGH] | Rule 3 — Missing Before/After Value
2025-12-23 13:07 | bsantos | VIEW | SAMPLE_DATA | RES-2067 | 6.8 | 6.99 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-24 06:41 | bsantos | UPDATE | RESULTS | RES-2072 | 6.83 | 7.49 | Calibration correction per instrument log CAL-2025-55 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-24 12:17 | rchen | UPDATE | RESULTS | RES-2059 | 7.19 | 7.24 | Calibration correction per instrument log CAL-2025-55 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-24 16:19 | swoods | UPDATE | QC_TEST | RES-2077 | 6.56 | 6.98 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-24 17:29 | pnguyen | UPDATE | FORMULATION | RES-2041 | 7.02 | 7.12 | Batch record correction per deviation DEV-2025-441 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-26 08:36 | akim | UPDATE | RESULTS | RES-2037 | 7.02 | 6.94 | Specification limit updated per change control CC-2025-088 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-27 03:31 | dkim | APPROVE | QC_TEST | RES-2078 | 6.82 | 6.65 | pH adjusted per SOP-QC-014 §4.2 | Low | Low | No named rule threshold met | No anomaly detected
2025-12-27 07:59 | bsantos | UPDATE | SPEC_LIMITS | RES-2033 | 7.16 | 7.43 | CAPA-related data update per QA review QA-2025-312 | Low | Low | No named rule threshold met | No anomaly detected

## Detection Logic
# | Tier | Class | Rule Name | Trigger Condition | FDA Regulation | EU Annex 11 | Status
1 | Critical | Tier 1 | Record Reconstruction | Same user deletes then recreates the same record_id within 4 hours. | 21 CFR Part 11 §11.10(e); ALCOA+ Original | Clause 9 | ACTIVE
2 | Critical | Tier 1 | Audit Trail Tampering | Any action on audit trail config table. High: DELETE on GxP-sensitive record type. | 21 CFR Part 11 §11.10(e) | Clause 9 | ACTIVE
3 | High | Tier 1 | Missing Before/After Values | UPDATE: old_value = new_value or either null. CREATE: new_value null. DELETE: old_value null. Skipped if cols absent. | 21 CFR Part 11 §11.10(e); ALCOA+ Original | Clause 9 | ACTIVE
4 | Critical | Tier 1 | Self-Approval SoD Violation | Same user appears as creator AND approver on the same record_id. | 21 CFR Part 11 §11.10(d); EU Annex 11 Clause 12 | Clause 12 | ACTIVE
5 | Critical | Tier 1 | Modification After Approval | UPDATE or DELETE on a record_id after an APPROVE or RELEASE action already exists for that record. | 21 CFR Part 11 §11.10(e); ALCOA+ Original | Clause 9 | ACTIVE
6 | High | Tier 1 | Vague Rationale | Fires on UPDATE/DELETE where the change reason (comments column) is blank OR a single generic word from the blocklist. EXEMPT when comment has 3+ words AND contains at least one domain term. BLOCKLIST: error, fix, fixed, corrected, done, ok, okay, updated, changed, modified, n/a, na, per sop (without specifics), human error, training issue, typo, mistake, correction, redo. DOMAIN TERMS (auto-exempt): pH, temperature, calibration, batch, specification, deviation, OOS, out-of-spec, protocol, SOP-[ref], IQ, OQ, PQ, CAPA, method, stability, sterility, endotoxin, assay, analyte, sample, reagent, standard, yield, potency, identity, purity. EXAMPLES NOT firing: 'pH corrected again' (pH = domain term), 'data correction on repeat experiment' (5 words + correction+experiment), 'per SOP-QC-014 §4.2' (SOP reference). EXAMPLES THAT FIRE: blank, 'Fixed', 'Error', 'Done', 'OK', 'Per SOP' (no number), 'Human error', 'Training issue'. | 21 CFR Part 211.68; ALCOA+ Attributable and Legible | Clause 9 | ACTIVE
7 | High | Tier 1 | Statistical Value Outlier | Modification to GxP-critical field AND change_reason blank AND approved_by blank (all three conditions). Does NOT fire if either documentation field is populated. | 21 CFR 211.68(b); EU Annex 11 §10; ALCOA+ Attributable + Original | Clause 10 | ACTIVE
8 | Critical | Tier 1 | Service / Shared Account GxP Action | Non-personal account (svc_, batch_, api_, root, daemon, guest, test_) performs GxP data action. | 21 CFR Part 11 §11.300 | Clause 12 | ACTIVE
9 | High | Tier 1 | Failed Login → Data Manipulation (narrowed) | AUTH_FAILURE event followed by write action by same user_id within 15 minutes on a GxP-critical table. Silent-skip if dataset has zero auth events. | 21 CFR 11.10(d); 21 CFR 211.68; ALCOA+ Attributable | Clause 12 | ACTIVE
10 | High | Tier 1 | Privileged User GxP Action | Role contains admin/system/superuser/root/sa/sysadmin/dba AND action_type ∈ {INSERT,UPDATE,DELETE,MODIFY} AND record_type is GxP-critical. Single clean check — old Rule 3/8 distinction removed. | 21 CFR 11.10(c)/(d); EU Annex 11 §2; ICH Q9 | Clause 12 | ACTIVE
11 | High | Tier 1 | Missing User Attribution | Null or blank user_id on any audit trail event. | 21 CFR Part 11 §11.10(e); ALCOA+ Attributable | — | ACTIVE
12 | Critical | Tier 1 | Timestamp Reversal | Approval timestamp earlier than creation timestamp for same record_id. Chronologically impossible. | 21 CFR Part 11 §11.10(e); ALCOA+ Contemporaneous | Clause 9 | ACTIVE
13 | High | Tier 1 | Missing Timestamp | Null or unparseable timestamp on any audit trail event. | 21 CFR Part 11 §11.10(e); ALCOA+ Contemporaneous | — | ACTIVE
15 | Medium | Tier 1 | Contemporaneous Burst (narrowed) | ≥8 events by same human user_id within a 10-minute rolling window on GxP-critical records only. Service/shared accounts excluded. | ALCOA+ Contemporaneous; 21 CFR Part 11 §11.10(e); EU Annex 11 §9 | Clause 9 | ACTIVE
17 | Critical | Tier 1 | Workflow Status Reversal | Backward workflow status transition on same record_id (e.g. Approved→Draft, Released→Pending, Closed→Open). Fires Critical when record is GxP-critical (RESULTS, BATCH, etc.); High otherwise. Silent-skip if no status/state/workflow column present. | 21 CFR Part 11 §11.10(e); ALCOA+ Original; GAMP 5 (2nd Ed, 2022) | Clause 9 | ACTIVE
v94e → v96 Rule Mapping Appendix (hard cutover reference)
v94 # | v94 Rule Name | v96 Status | v96 # | Notes
1 | Vague Rationale | Kept | 6
2 | Contemporaneous Burst | Narrowed | 15 | ≥8 in 10 min, GxP records, human users only
3 | Admin/GxP Conflict | Merged into Rule 10 | 10 | Single privileged-user-modification check
4 | Change Control Drift | Narrowed | 7 | Modify + reason blank + approver blank (all 3)
5 | Failed Login → Manipulation | Narrowed + silent-skip | 9 | AUTH_FAILURE → write within 15 min on GxP
6 | Record Reconstruction | Kept | 1
7 | Audit Trail Integrity Event | Kept | 2
8 | Privileged User on GxP Data | Merged + renamed | 10 | Now 'Privileged User Modification of GxP Data'
9 | Timestamp Gap | Dropped | — | Weekend/low-activity noise
10 | Off-Hours / Holiday Activity | Narrowed | 16 | Off-hours alone no longer fires; needs doc gap
11 | Timestamp Reversal | Kept | 12
12 | Service / Shared Account | Kept | 8
13 | Dormant Account Sudden Activity | Moved to UAR | U11 | UAR snapshot rule: dormant + privileged + no justification
14 | First-Time Behavior | Dropped | — | Required AT event history; UAR cannot host (modular principle)
15 | Missing Timestamp | Kept | 13
16 | Missing User Attribution | Kept | 11
17 | Missing Before/After Values | Kept | 3
18 | Self-Approval SoD Violation | Kept | 4
19 | Modification After Approval | Kept | 5
20 | Workflow Status Reversal | Re-instated as #17 | 17 | Critical when on GxP record (RESULTS, BATCH, etc.); High otherwise. Re-added per QA review — top fraud-hiding pattern.
21 | Role / Permission Change | Dropped | — | Required AT event history; UAR cannot host (modular principle)
22 | Duplicate Timestamp Collision | Dropped | — | Sub-second noise, false-positive prone
23 | Missing Record ID | Dropped | — | Overlapped Rule 17 (Missing Before/After Values)
24 | Duplicate Rows | Dropped | — | Data-quality signal, not compliance
25 | Future Timestamp | Dropped | — | Clock misconfiguration noise; Rule 12 (Timestamp Reversal) covers genuine fraud signal.
Hard cutover from v94e: 8 v94 rules removed (3,9,11(dup),14,16-FTB,21,22,23,24); 5 narrowed/merged (2,4,5,3+8→10,10); 1 moved to UAR as U11; 1 re-instated post-review (Rule 20 → v96 #17 Workflow Status Reversal, tier-aware). Net: 25 → 17 AT rules + 1 new UAR rule. Rule 17 fires Critical on GxP-critical record types (the dominant fraud-hiding pattern: revert-modify-re-approve) and High on non-GxP records. See AT Detection Logic and UAR Detection Logic sheets.
═══════════════════════════════════════════════════════════════
AI COMPONENT COMPLIANCE — ISPE GAMP® Guide: Artificial Intelligence (July 2025)
Intended Use: Narrative/justification text generation only.
AI output appears in the System Narrative or
What Happened column exclusively.
Risk Classification: Low — advisory text only; no GxP decision influence.
Score Independence: AI output does NOT influence Risk Score, Risk Level,
or Risk Tier. All scoring is deterministic Python.
Human Oversight: Reviewer Disposition column is mandatory for all
Critical and High findings before report is finalised.
The Reviewer Statement on the Summary sheet confirms this.
Explainability: All scoring logic is rule-based Python documented above.
Each rule has an explicit ID, trigger condition, column
dependency, and regulatory basis. No black-box behaviour.
Model Traceability: AI model name and provider are logged per run in the
application audit trail (AUDIT_LOG table).
Deterministic Fall-back: If the AI provider is unavailable, a deterministic
Python function generates the narrative automatically.
Output quality and GxP defensibility are unaffected.
═══════════════════════════════════════════════════════════════

## Integrity Audit
VALINTEL.AI — Integrity Audit Record
Report Generated (UTC) | 2026-05-03 17:15:31 UTC
Review Period | 01-Oct-2025 → 27-Dec-2025
System / Source File | valintel_at_period2_Q4_2025_improving.csv
Dataset Row Counts
Total Events in Upload | 100
Critical Events | 0
High Events | 5
Medium Events | 0
Auto-Cleared (Low / No Risk) | 95
Events for Review (shown in Sheet 2) | 5
Dataset Hash (Tamper Evidence)
SHA-256 (full dataset) | 903a076f5d3693a94eb225d4e6a451fcd69764b459b3ed4c7e465169d21200b9
MD5 (full dataset) | 6d594992b7e046ccd7c612e9cc7d0f61
Hash Scope | All scored columns, sorted alphabetically, CSV-serialised before hashing
Reconciliation Statement
Reviewer confirmation required | Confirm that the total event count (100 rows) matches your source system export. SHA-256 hash above can be recomputed from the Full Audit Log sheet to detect any post-export modification. This record was generated automatically by VALINTEL.AI and must be signed by the reviewing QA officer before filing as regulatory evidence.

## Rule Summary
Rule Firing Summary — Events Escalated per Detection Rule
Based on 100 total events · 5 escalated · System: BioLIMSv1
# | Rule Name | Tier | Count | % Share
1 | Record Reconstruction | Critical | 0 | 0.0%
2 | Audit Trail Tampering | Critical | 0 | 0.0%
3 | Missing Before/After Values | High | 22 | 440.0%
4 | Self-Approval SoD Violation | Critical | 0 | 0.0%
5 | Modification After Approval | Critical | 0 | 0.0%
6 | Vague Rationale | High | 5 | 100.0%
7 | Statistical Value Outlier | High | 0 | 0.0%
8 | Service / Shared Account GxP Action | Critical | 0 | 0.0%
9 | Failed Login → Data Manipulation | High | 0 | 0.0%
10 | Privileged User GxP Action | High | 0 | 0.0%
11 | Missing User Attribution | High | 0 | 0.0%
12 | Timestamp Reversal | Critical | 0 | 0.0%
13 | Missing Timestamp | High | 0 | 0.0%
15 | Contemporaneous Burst | Medium | 0 | 0.0%
17 | Workflow Status Reversal | Critical | 0 | 0.0%
Count = number of events in this run where this rule is the Primary Rule. One event may have multiple rules in 'All Rules Fired' — only the highest-priority rule is counted here. Low-risk (auto-cleared) events are excluded.