## Summary
Audit Trail Review — Evidence Package
REVIEW INFORMATION
System Name | BioLIMSv1
Review Period | 15-Apr-2024 → 15-Apr-2024
Source File | AT_rule06_vague_rationale.csv
Analysis Date (UTC) | 2026-05-06 16:12 UTC
Regulatory Basis | 21 CFR Part 11 §11.10(e) ¦ EU Annex 11, Clause 9 ¦ GAMP 5 (2nd Ed, 2022) ¦ FDA CSA Final Guidance (Sep 2021)
DATASET INTEGRITY
Total Events in Upload | 2
Critical Events | 0
High Events | 1
Medium Events | 0
Auto-Cleared (Low / No Risk) | 1
Events for Review | 1
DATASET HASH (TAMPER EVIDENCE)
SHA-256 (full dataset) | e23b04d87f09a0ae9f012205bfc661a28fda589740253859a6e0c2ca1bc4c864
MD5 (full dataset) | 514f68ff29729a4439b58c6c8c090c3a
Hash Scope | All scored columns, sorted alphabetically, CSV-serialized before hashing
REVIEW NARRATIVE
The audit trail for TLIMS1 was reviewed from 15-Apr-2024 to 15-Apr-2024. Of 2 recorded events, 1 was escalated for review (1 High). Full dataset tier distribution is available in the Full Audit Log sheet. One instance of missing or inadequate change rationale was observed on RESULTS on record RES-3001. Overall, the system presents a low-to-moderate risk to data integrity. The findings identified are manageable but require documented review and corrective action where applicable.
REVIEWER STATEMENT
This audit trail review was performed using rule-based anomaly detection with system-generated narrative summaries. All risk classifications are derived from deterministic rules; narrative text does not influence risk scoring or tier assignment. 2 records were reviewed across the period 15-Apr-2024 to 15-Apr-2024. 50.0% of records were automatically cleared as low risk. The 1 records requiring review are documented in the 'Events for Review' sheet. Each finding has been independently reviewed and dispositioned by the undersigned reviewer. The 'System-Proposed Disposition' column is informational only; the reviewer's determination in the 'Reviewer Decision' column reflects independent human judgment and is the authoritative record. Regulatory basis: 21 CFR Part 11 §11.10(e) and EU Annex 11 Clause 9. Timezone note: Off-hours scoring (Rule 10) assumes all timestamps in the uploaded file are in the same timezone. If your system exports timestamps in UTC or a non-local timezone, off-hours flags should be interpreted accordingly. Reviewers should verify local shift patterns before dispositing temporal anomalies.
Reviewer Name
Reviewer Title
Date of Review
Reviewer Signature

## Events for Review
No. | Events (rolled up) | Risk Level | Date & Time | User | Action | Record | Record ID | Change Reason | Primary Rule | Related Sequence | Why It Matters | What Happened | Recommended Action | System-Proposed Disposition (see Decision Basis — reviewer must make independent determination) | Decision Basis | Reviewer Decision (independent — tick one) | Reviewer Notes
1 | 1 | High | 2024-04-15 09:00:00 | analyst_jones | UPDATE | RESULTS | RES-3001 |  | Rule 6 — Vague Rationale [HIGH] |  | ALCOA+ Attributable and Legible principles; FDA Data Integrity Guidance (2018) — GxP data changes must be accompanied by a specific, scientifically justified rationale attributable to the performing individual. | analyst_jones performed UPDATE on RESULTS/RES-3001 at 2024-04-15 09:00:00; no change reason was recorded — no change reason documents why this record was modified. | Obtain a retrospective written amendment from the analyst explaining what changed and why. Assess whether the undocumented change could affect the quality or disposition of the associated batch or result. |  |  | ☐ Justified ☐ Escalate to CAPA ☐ False Positive
Note on A1: VALINTEL.AI: Showing 1 escalated event(s) from the Full Audit Log (1 High). Each event triggered at least one named detection rule (Rules 1–15) at or above its threshold. All events remain visible in the Full Audit Log sheet.

## Full Audit Log
Date & Time | User | Action | Record Type | Record ID | Old Value | New Value | Change Reason | Risk Level | Primary Rule | All Rules Fired | Related Sequence
2024-04-15 09:00:00 | analyst_jones | UPDATE | RESULTS | RES-3001 | 8.1 | 8.0 |  | High | Rule 6 — Vague Rationale [HIGH] | Rule 6 — Vague Rationale
2024-04-15 10:00:00 | analyst_nguyen | UPDATE | RESULTS | RES-9001 | 6.8 | 7.0 | pH recalibrated per SOP-QC-022 after instrument service | Low | No named rule threshold met | No anomaly detected

## Detection Logic
# | Tier | Class | Rule Name | Trigger Condition | FDA Regulation | EU Annex 11 | Status
1 | Critical | Tier 1 | Record Reconstruction | Same user deletes then recreates the same record_id within 4 hours. | 21 CFR Part 11 §11.10(e); ALCOA+ Original | Clause 9 | ACTIVE
2 | Critical | Tier 1 | Audit Trail Tampering | Any action on audit trail config table. High: DELETE on GxP-sensitive record type. | 21 CFR Part 11 §11.10(e) | Clause 9 | ACTIVE
3 | High | Tier 1 | Missing Before/After Values | UPDATE: old_value = new_value or either null. CREATE: new_value null. DELETE: old_value null. Skipped if cols absent. | 21 CFR Part 11 §11.10(e); ALCOA+ Original | Clause 9 | ACTIVE
4 | Critical | Tier 1 | Self-Approval SoD Violation | Same user appears as creator AND approver on the same record_id. | 21 CFR Part 11 §11.10(d); EU Annex 11 Clause 12 | Clause 12 | ACTIVE
5 | Critical | Tier 1 | Modification After Approval | UPDATE or DELETE on a record_id after an APPROVE or RELEASE action already exists for that record. | 21 CFR Part 11 §11.10(e); ALCOA+ Original | Clause 9 | ACTIVE
6 | High | Tier 1 | Vague Rationale | Fires on UPDATE/DELETE where the change reason (comments column) is blank OR a single generic word from the blocklist. EXEMPT when comment has 3+ words AND contains at least one domain term. BLOCKLIST: error, fix, fixed, corrected, done, ok, okay, updated, changed, modified, n/a, na, per sop (without specifics), human error, training issue, typo, mistake, correction, redo. DOMAIN TERMS (auto-exempt): pH, temperature, calibration, batch, specification, deviation, OOS, out-of-spec, protocol, SOP-[ref], IQ, OQ, PQ, CAPA, method, stability, sterility, endotoxin, assay, analyte, sample, reagent, standard, yield, potency, identity, purity. EXAMPLES NOT firing: 'pH corrected again' (pH = domain term), 'data correction on repeat experiment' (5 words + correction+experiment), 'per SOP-QC-014 §4.2' (SOP reference). EXAMPLES THAT FIRE: blank, 'Fixed', 'Error', 'Done', 'OK', 'Per SOP' (no number), 'Human error', 'Training issue'. | 21 CFR Part 211.68; ALCOA+ Attributable and Legible | Clause 9 | ACTIVE
7 | High | Tier 1 | Statistical Value Outlier | Modification to GxP-critical field AND change_reason blank AND approved_by blank (all three conditions). Does NOT fire if either documentation field is populated. | 21 CFR 211.68(b); EU Annex 11 §10; ALCOA+ Attributable + Original | Clause 10 | ACTIVE
8 | Critical | Tier 1 | Service / Shared Account GxP Action | Non-personal account (svc_, batch_, api_, root, daemon, guest, test_) performs GxP data action. | 21 CFR Part 11 §11.300 | Clause 12 | ACTIVE
9 | High | Tier 1 | Failed Login → Data Manipulation (narrowed) | AUTH_FAILURE event followed by write action by same user_id within 15 minutes on a GxP-critical table. Silent-skip if dataset has zero auth events. | 21 CFR 11.10(d); 21 CFR 211.68; ALCOA+ Attributable | Clause 12 | ACTIVE
10 | High | Tier 1 | Privileged User GxP Action | Role contains admin/system/superuser/root/sa/sysadmin/dba AND action_type ∈ {INSERT,UPDATE,DELETE,MODIFY} AND record_type is GxP-critical. Single clean check — old Rule 3/8 distinction removed. | 21 CFR 11.10(c)/(d); EU Annex 11 §2; ICH Q9 | Clause 12 | ACTIVE
11 | High | Tier 1 | Missing User Attribution | Null or blank user_id on any audit trail event. | 21 CFR Part 11 §11.10(e); ALCOA+ Attributable | — | ACTIVE
12 | Critical | Tier 1 | Timestamp Reversal | Approval timestamp earlier than creation timestamp for same record_id. Chronologically impossible. | 21 CFR Part 11 §11.10(e); ALCOA+ Contemporaneous | Clause 9 | ACTIVE
13 | High | Tier 1 | Missing Timestamp | Null or unparseable timestamp on any audit trail event. | 21 CFR Part 11 §11.10(e); ALCOA+ Contemporaneous | — | ACTIVE
15 | Medium | Tier 1 | Contemporaneous Burst (narrowed) | ≥8 events by same human user_id within a 10-minute rolling window on GxP-critical records only. Service/shared accounts excluded. | ALCOA+ Contemporaneous; 21 CFR Part 11 §11.10(e); EU Annex 11 §9 | Clause 9 | ACTIVE
17 | Critical | Tier 1 | Workflow Status Reversal | Backward workflow status transition on same record_id (e.g. Approved→Draft, Released→Pending, Closed→Open). Fires Critical when record is GxP-critical (RESULTS, BATCH, etc.); High otherwise. Silent-skip if no status/state/workflow column present. | 21 CFR Part 11 §11.10(e); ALCOA+ Original; GAMP 5 (2nd Ed, 2022) | Clause 9 | ACTIVE

## Rule Summary
Rule Firing Summary — Events Escalated per Detection Rule
Based on 2 total events · 1 escalated · System: TLIMS1
# | Rule Name | Tier | Count | % Share
1 | Record Reconstruction | Critical | 0 | 0.0%
2 | Audit Trail Tampering | Critical | 0 | 0.0%
3 | Missing Before/After Values | High | 0 | 0.0%
4 | Self-Approval SoD Violation | Critical | 0 | 0.0%
5 | Modification After Approval | Critical | 0 | 0.0%
6 | Vague Rationale | High | 1 | 100.0%
7 | Statistical Value Outlier | High | 0 | 0.0%
8 | Service / Shared Account GxP Action | Critical | 0 | 0.0%
9 | Failed Login → Data Manipulation | High | 0 | 0.0%
10 | Privileged User GxP Action | High | 0 | 0.0%
11 | Missing User Attribution | High | 0 | 0.0%
12 | Timestamp Reversal | Critical | 0 | 0.0%
13 | Missing Timestamp | High | 0 | 0.0%
15 | Contemporaneous Burst | Medium | 0 | 0.0%
17 | Workflow Status Reversal | Critical | 0 | 0.0%
Count = events where this rule is the Primary Rule. One event may trigger multiple rules — only the highest-priority rule is counted here. Low-risk (auto-cleared) events are excluded.